Drinking Water Quality and Compliance

Introduction

The Water Security Agency and the Ministry of Environment requires that at least once each year waterworks owners provide notification to consumers of the quality of water produced and supplied as well as information on the performance of the waterworks in submitting samples as required by a Minister’s Order or Permit to Operate a waterworks.  The following is a summary of the Village of Kenosee Lake water quality and sample submission compliance record for the 2025 time period.  This report was completed on January 14th, 2026.  Readers should refer to Water Security Agency’s Municipal Drinking Water Quality Monitoring Guidelines, June 2015, EPB 502 for more information on minimum sample submission requirements and the meaning of type of sample.  Permit requirements for a specific waterworks may require more sampling than outlined in the department’s monitoring guidelines.  If consumers need more information on the nature and significance of specific water tests, for example, “what is the significance of Selenium in a water supply”, more detailed information is available from:  http://www.hc-sc.gc.ca/ewh-semt/pubs/water-eau/index_e.html 
.

Water Quality Standards 

Bacteriological Quality



Regular Samples
Regular Samples
  # of Positive Regular

Parameter/Location
Limit


Required

Submitted
  Submitted (%)

Total Coliform 

0 Organisms/100 mL


E. coli


0 Organisms/100 mL
____26______
______26_______  ___4%______
Background Bacteria
Less than 200/100 mL

Water Disinfection – 

Chlorine Residual in Distribution System for Test Results Submitted with Bacteriological Samples


Minimum
Total Chlorine
Free Chlorine
# Tests
# Tests
# Adequate

Parameter
Limit
Residual Range
Residual Range
Required
Submitted
Chlorine (%)
Chlorine
0.1 mg/L free OR


Residual
0.5 mg/L total
__0.25-1.00_____
__0.12-0.69____
___26___
___26____
_____100________

Water Disinfection - Free Chlorine Residual for Water Entering Distribution System from Waterworks Records-From Water Treatment Plant Records



Test Level
# Tests                # Tests Not Meeting

Parameter
Limit (mg/L)
Range
Performed          Requirements

Free Chlorine Residual
at least 0.1
__0.10-1.68
___365______     _____0______

A minimum of 0.1 milligrams per litre (mg/L) free chlorine residual is required for water entering the distribution system.  Tests are normally performed on a daily basis by the waterworks operator and are to be recorded in operation records.  This data includes the number of free chlorine residual tests performed, the overall range of free chlorine residual (highest and lowest recorded values) and the number of tests and percentage of results not meeting the minimum requirement of 0.1 mg/L free chlorine residual.

Turbidity – From Water Treatment Plant Records

Parameter
Limit
Test Level
# Tests Not Meeting
Maximum
# Tests           # Tests

# Tests


(NTU) 
Range
Requirements
Turbidity (NTU)
Required        Performed
Performed

Turbidity
__1.0_____
_0.11-0.80_  
_____0__________
____0.80_____
____365____       __365______
__________

Chemical – Health Category 

The last sample for General Chemical and Chemical Health analysis was submitted on July 8 ,2025.  Sample results indicated that the provincial drinking water quality standards were not exceeded

More information on water quality and sample submission performance may be obtained from:


Village of Kenosee Lake

PO Box 30 33 Waseca Ave


Kenosee Lake, SK


S0C 2S0
[image: image1.jpg]Saskatchewan
Ministry of
Environment




                                                                          [image: image2.jpg]Water Securtty
Agency

O



                   

[image: image1.jpg][image: image2.jpg]